Environmental Risks for Suicide Checklist

for Nonbehavioral Health Units and Emergency Rooms

Unit/Department: ________________________	Date: ________________________

Director/Manager: ________________________	Surveyor(s): ________________________

| Ceilings, Walls, Windows, and Doors | Y/N | N/A | Comments |
| --- | --- | --- | --- |
| Are there lay-in ceilings (places for contraband, to secure ligatures for self-harm, to access above-the-ceiling spaces)? |  |  |  |
| Are all heating, ventilating, and air conditioning (HVAC) grills tamper resistant? |  |  |  |
| If the outside window is operable, is it limited to no more than a 4–6-inch opening? |  |  |  |
| Is window glazing shatterproof? |  |  |  |
| Are door knobs tamper resistant and of an antiligature design? |  |  |  |
| Room Furniture and Fixtures | Y/N | N/A | Comments |
| Is glass in night lights and other lighting fixtures shatterproof and tamper resistant? |  |  |  |
| Are light fixtures secured to restrict patient access to bulbs and sockets? |  |  |  |
| Are all materials in mirrors and pictures shatterproof? |  |  |  |
| Are coat hooks, towel bars, cubicle curtain tracks, and closet poles removed? |  |  |  |
| Are screws tamper resistant? |  |  |  |
| Are electrical power cords on adjustable beds secured or replaced with removable cords? (Make sure bed can still be mechanically lowered for CPR positioning.) |  |  |  |
| Are power cords to TVs and other electric devices secured? |  |  |  |
| Are mounting brackets for TVs removed (to prevent use as a ligature point)? |  |  |  |
| Are any cork bulletin boards with thumbtacks replaced with dry-mark boards? |  |  |  |
| Are all electrical outlets GFCI (ground fault circuit interrupter) and tamper resistant? |  |  |  |
| Are any metal outlet covers replaced with shatterproof, nonconductive covers? |  |  |  |
| Are grab bars in the bathroom removed? |  |  |  |
| Are all shower controls and shower heads tamper resistant? |  |  |  |
| Is piping in the bathroom protected? |  |  |  |
| Are bathroom faucets tamper resistant? |  |  |  |

Source: Adapted from Sine D.M.: Latent risks in the built environment for the behavioral health patient: Concerns for the healthcare risk manager. In The American Society for Healthcare Risk Management Handbook, 6th ed. Chicago: American Hospital Association, 2010.