EC Tour Checklist

This EC Tour* checklist can be used to track compliance with requirements related to the physical environment. If the # symbol is present in the Yes and No columns, use hash marks to capture the number of observations found compliant in the Yes column or the number found noncompliant in the No column for that item. If the # symbol is not present, check the Yes column for compliant or the No column for noncompliant.

Organization: _________________________________________________________________________________

Department/Unit: ________________________  Building:  ____________________________________________

Date of Tour: _____________  Reviewer:  __________________________________________________________

| Staff Knowledge |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Observation | Yes | No | N/A | Resolved On-Site Y/N | Comments |
| 1 | Staff can communicate the top three hazards for the organization, based on the organization’s Hazard Vulnerability Analysis (HVA). | # | # |  |  |  |
| 2 | Staff can communicate procedures for responding to a hazardous material or waste spill/exposure. | # | # |  |  |  |
| 3 | Staff can locate the department spill kit. (Only applicable for units identified by the EC Committee) | # | # |  |  |  |
| 4 | Staff can retrieve a safety data sheet (SDS). | # | # |  |  |  |
| 5 | Staff can communicate procedures for responding to a missing or abducted infant/child (applicable to hospitals only). | # | # |  |  |  |
| 6 | Staff can communicate procedures for responding to a patient elopement (applicable to hospitals, nursing homes, and residential behavioral health care centers). |  |  |  |  |  |
| 7 | Staff can communicate how to respond to fire, smoke, or the odor of something burning. | # | # |  |  |  |
| 8 | Staff can define RACE (Rescue, Alarm, Contain, Extinguish) procedures. | # | # |  |  |  |
| 9 | Staff can define PASS (Pull, Aim, Squeeze, Sweep) fire extinguisher procedures. | # | # |  |  |  |
| *EC Tours are optional according to current Joint Commission standards. |  |  |  |  |  |  |
| 10 | Staff can communicate procedures for evacuation of unit/department, including area of relocation. | # | # |  |  |  |
| 11 | Staff can communicate how to label and report broken medical equipment. | # | # |  |  |  |
| 12 | Staff can communicate how to identify whether medical equipment has been inspected. | # | # |  |  |  |
| 13 | Staff can communicate procedures if approached by a visitor complaining of chest pain/difficulty breathing. | # | # |  |  |  |
| 14 | Units/departments without crash carts can communicate where the crash cart comes from in case of a code. (Not applicable to units/departments whose protocol is to contact 911) | # | # |  |  |  |
| 15 | Staff can communicate how to respond to a violent patient, including any required documentation. | # | # |  |  |  |
| 16 | Staff can locate and communicate the hospital’s or behavioral health care center’s policy on restraints. | # | # |  |  |  |
| Environment of Care (EC) |  |  |  |  |  |  |
| General |  |  |  |  |  |  |
| Item | Observation | Yes | No | N/A | Resolved On-Site Y/N | Comments |
| 17 | Emergency pull cords are not tied or tangled around any object (must hang free), are no shorter than 6 inches from the floor, and are present. | # | # |  |  |  |
| 18 | Power strips are not used for any patient care equipment. | # | # |  |  |  |
| 19 | Power strips permitted for use on non–patient care equipment are hospital grade. | # | # |  |  |  |
| 20 | No unattended medications are accessible to the public. | # | # |  |  | Work order required if not compliant |
| 21 | Stored oxygen cylinders are segregated between full and empty (applicable to hospitals and nursing care centers). |  |  |  |  |  |
| 21 | Oxygen cylinders are properly stored to prevent tipping, rolling, or exposure to combustible materials (applicable to hospitals and nursing care centers). |  |  |  |  |  |
| 22 | Handrails are properly secured (applicable to hospitals and nursing care centers). |  |  |  |  |  |
| 23 | There are no trip hazards. |  |  |  |  |  |
| Hazardous Materials and Waste |  |  |  |  |  |  |
| Item | Observation | Yes | No | N/A | Resolved On-Site Y/N | Comments |
| 24 | Personal protective equipment (PPE) required by the SDS is available to staff, functioning properly, and in good repair. | # | # |  |  |  |
| 25 | Hazardous materials are properly stored (for example, flammables in a secured area not accessible to the public, and so on). |  |  |  |  |  |
| 26 | All hazardous materials and waste containers are properly labeled. If content is unknown, document as noncompliant. | # | # |  |  |  |
| 27 | All hazardous and nonhazardous trash has been disposed of in appropriate containers (safely review biohazard, pharmaceutical waste, sharps containers, and so on). | # | # |  |  |  |
| 28 | Unlocked hazardous waste containers are located in a secured room or an area that is not accessible to the public. | # | # |  |  |  |
| 29 | Documentation protected by HIPAA is not disposed of in an unsecured container. | # | # |  |  |  |
| 30 | Unobstructed eyewash station present within 10 seconds in areas with corrosive or caustic chemicals. |  |  |  |  |  |
| 31 | Eyewash station is clean and in good condition. |  |  |  |  |  |
| 32 | Eyewash inspection log is available and up to date. |  |  |  |  |  |
| Infection Control (and EC) |  |  |  |  |  |  |
| Item | Observation | Yes | No | N/A | Resolved On-Site Y/N | Comments |
| 33 | Appropriate signage posted for isolation rooms (applicable to hospitals only). | # | # |  |  |  |
| 34 | Building surfaces are clean and in good repair (including walls, counters, floors). |  |  |  |  |  |
| 35 | Furniture is clean and in good repair. |  |  |  |  |  |
| 36 | Medical equipment is clean and in good repair. | # | # |  |  |  |
| 37 | No food or drink is observed at nurses’ station or work areas. |  |  |  |  |  |
| 38 | Patient refrigerator logs are documented properly. |  |  |  |  |  |
| 39 | Adequate temperature is maintained for refrigerator. |  |  |  |  |  |
| 40 | No outdated food products are in refrigerator. | # | # |  |  |  |
| 41 | Clean linen storage area is covered. |  |  |  |  |  |
| 42 | Ice machine is clean. |  |  |  |  |  |
| 43 | No unapproved hospital lotion is in use. |  |  |  |  |  |
| 44 | No expired alcohol hand rub dispensers are in use. | # | # |  |  |  |
| 45 | There is a solid barrier on the lowest level of shelving, adjacent to the floor, for clean supplies, to prevent a mop from coming into contact with clean supplies. |  |  |  |  |  |
| 46 | Staff is observed using proper hand hygiene prior to entering patient room. |  |  |  |  |  |
| 47 | Staff is observed wearing appropriate PPE when entering an isolation room. |  |  |  |  |  |
| 48 | No supplies are stored under sink. |  |  |  |  |  |
| Security |  |  |  |  |  |  |
| Item | Observation | Yes | No | N/A | Resolved On-Site Y/N | Comments |
| 49 | Staff are wearing identification badges. | # | # |  |  |  |
| 50 | Doors required to be secured are not unlocked, propped open, or blocked from latching. | # | # |  |  |  |
| 51 | Staff are monitoring individuals entering the unit/department. |  |  |  |  |  |
| Utilities |  |  |  |  |  |  |
| Item | Observation | Yes | No | N/A | Resolved On-Site Y/N | Comments |
| 52 | Tissue test: Positive pressure rooms push tissue out from the room. | # | # |  |  |  |
| 53 | Tissue test: Negative pressure rooms pull tissue into the room. | # | # |  |  |  |
| 54 | Electrical panels are accessible with no storage within 3 feet in front of the panel. | # | # |  |  |  |
| 55 | Electrical panels in public areas are locked. | # | # |  |  |  |
| 56 | Medical gas shutoff valves are properly labeled. | # | # |  |  |  |
| 57 | Medical gas shutoff valves are accessible with no storage in front. | # | # |  |  |  |
| 58 | Emergency power outlets are labeled for quick reference. |  |  |  |  |  |
| 59 | All general lights are working. | # | # |  |  |  |
| Life Safety (LS) |  |  |  |  |  |  |
| General |  |  |  |  |  |  |
| Item | Observation | Yes | No | Comments |  |  |
| 60 | There is an 8-foot clearance in each corridor (applicable to hospitals only). (Exceptions are permitted for crash carts, isolation carts with in-use patient room, and suites where 3-foot clearance is required. Exceptions are also permitted for fixed furnishings that are: securely attached to the wall or floor; located on only one side of the corridor; do not reduce the corridor width below 6 feet; and do not exceed 50-square-feet.) |  |  |  |  |  |
| 61 | Corridor width is not obstructed by wall projections. (When corridors are 6 feet wide or more, certain objects are permitted to project into the corridor, such as hand rub dispensers or computer desks that are retractable. They must be no more than 36 inches wide and cannot project more than 6 inches into the corridor. These items must be installed at least 48 inches apart and above handrail height.) |  |  | Work order required if not compliant |  |  |
| 62 | Exit, exit accesses, and exit discharges are clear of obstructions or impediments to the public way, such as clutter (for example, equipment, carts, furniture), construction material, and snow and ice. |  |  |  |  |  |
| 63 | Exit access doors and exit doors are free of mirrors, hangings, or draperies that might conceal, obscure, or confuse the direction of egress. | # | # | Work order required if not compliant |  |  |
| 64 | Doors requiring a fire rating of three-quarters of an hour or longer are free of coverings, decorations, or other objects applied to the door face, with the exception of informational signage. | # | # |  |  |  |
| 65 | Exit signs are visible when the path to exit is not readily apparent. |  |  | Work order required if not compliant |  |  |
| 66 | Exit signs are illuminated or photoluminescent. | # | # | Work order required if not compliant |  |  |
| 67 | Stairs serving five or more stories have signs on each floor landing in the stairwell that identify the story, the stairwell, the top and bottom, and the direction to and story of exit discharge. The signs are placed 5 feet above the floor landing, in a position that is easily visible when the door is open OR closed. | # | # | Work order required if not compliant |  |  |
| 68 | Fire-rated doors have visible and readable fire rating labels. | # | # | Work order required if not compliant |  |  |
| 69 | Fire-rated doors have functioning hardware, including positive latching devices and self-closing or automatic-closing devices. | # | # | Work order required if not compliant |  |  |
| 70 | For fire-rated and smoke barrier doors, gaps between meeting edges of door pairs are no more than ⅛ inch wide, and undercuts are no larger than ¾ inch. | # | # | Work order required if not compliant |  |  |
| 71 | Corridor doors are fitted with positive latching hardware (roller latches not permitted) and are hinged to swing. | # | # | Work order required if not compliant |  |  |
| 72 | For corridor doors, gaps between meeting edges of door pairs are no wider than ⅛ inch, and undercuts are no larger than 1 inch. | # | # | Work order required if not compliant |  |  |
| 73 | Doors in smoke barriers are self-closing or automatic-closing. | # | # | Work order required if not compliant |  |  |
| 74 | Doors in a means of egress swing in the direction of egress. |  |  | Work order required if not compliant |  |  |
| 75 | Doors in a means of egress are unlocked in the direction of egress. (Exceptions: (1) doors with special locking arrangements, (2) doors with delayed egress, (3) access-controlled doors; refer to 18/19.2.2.2.4, 18/19.2.2.2.5, and 18/19.2.2.2.6 in the Life Safety Code®** for further information) |  |  | Work order required if not compliant |  |  |
| 76 | Any door, passage, or stairway that is neither an exit nor a way of exit access and that is located or arranged so that is likely to be mistaken for an exit has a “No Exit” sign. | # | # | Work order required if not compliant |  |  |
| 77 | Doors are not propped open or manipulated so the door does not latch. |  |  |  |  |  |
| 78 | Ceiling tiles are in place and are not damaged (no stains, holes, or gaps). |  |  | Work order required if not compliant |  |  |
| **Life Safety Code® is a registered trademark of the National Fire Protection Association, Quincy, MA. |  |  |  |  |  |  |

| 79 | Sprinkler heads are not damaged and are free from corrosion, foreign materials, and paint. | # | # |  |
| --- | --- | --- | --- | --- |
| 80 | Sprinkler escutcheon plate is present. | # | # | Work order required if not compliant |
| 81 | 18 inches or more of open space is maintained below the sprinkler deflector to the top of storage. (Note: Perimeter wall and stack shelving may extend up to the ceiling when not located directly below a sprinkler head.) |  |  |  |
| 82 | Travel distance from any point to the nearest fire extinguisher is 75 feet or less. |  |  | Work order required if not compliant |
| 83 | Extinguishers have a current inspection tag, including date of all applicable monthly inspections (month/day/year) and initials of inspector. | # | # |  |
| 84 | Extinguishers are visible and accessible. | # | # |  |
| 85 | MRI Only: MRI-type extinguisher(s) only available within defined area. | # | # | Work order required if not compliant |
| 86 | Kitchen Only: K-type extinguisher(s) available within 30 feet of grease-producing cooking devices such as deep fat fryers, ranges, griddles, or broilers. | # | # | Work order required if not compliant |
| 87 | Trash and linen chute doors are fire-rated for one hour, are self-closing, latch, and have no visible alterations (for example, no holes, no nonrated hardware, and so on). | # | # | Work order required if not compliant |
| 88 | There are no combustible decorations. Only flame-retardant decorations are permitted. |  |  |  |
| 89 | Soiled linen or trash receptacles totaling or larger than 32 gallons are not present within a 64-square-foot area, unless stored in a room protected as a hazardous area. |  |  |  |
| 90 | No space heaters are present within a smoke compartment containing patient sleeping or treatment areas. |  |  | Immediate removal necessary. |
| 91 | Wall mounted alcohol hand rub dispensers are mounted 1 inch from any electrical source (above, below, next to). |  |  | Work order required if not compliant |